| ptglab.com | 1 |
| --- | --- |

ELISA KIT CATALOG

www.ptglab.com

2	ELISA Kit Catalog

| ptglab.com | 3 |
| --- | --- |

WELCOME

Product List

Proteintech sandwich ELISA kits provide a simple and elegant solution for your immunoassay needs. The procedure is straightforward and allows you to detect and quantify your target protein, reliably and accurately, in a range of biological samples in the space of a morning or afternoon. Proteintech’s ELISA kits are based on the two-site sandwich immunoassay principle, in which two highly specific, non-competitive antibodies are used in the detection of a target analyte: one for capture, and one for detection.

Each Proteintech sandwich ELISA kit has been rigorously assessed for intra- and inter-assay variability and data show high levels of assay consistency and sample recovery (provided with every datasheet). The development of a typical Proteintech sandwich ELISA kit is reviewed in the next section. Briefly, steps involved in making Proteintech’s sandwich ELISA kits include:

| • Careful selection of antibody pairs to | • | Testing of intra- and inter-assay precision |
| --- | --- | --- |
| ensure optimum signal | • | Linearity testing |
| • Calibration with NIBSC/WHO Standards |  |  |
|  | • | Recovery testing |
| • Testing with multiple sample types, e.g., |  |  |
|  | • | Kit stability testing |
| sera, plasma, cell culture supernatant |  |  |

CD Molecular

| ELISA Kit | Page | ELISA Kit | Page | ELISA Kit | Page |
| --- | --- | --- | --- | --- | --- |
| CD31 | 6 | CEACAM5 | 6 | PD-L1 | 7 |
| CD3E | 6 | PD1 | 7 |  |  |

Cytokines

| ELISA Kit | Page | ELISA Kit | Page | ELISA Kit | Page |
| --- | --- | --- | --- | --- | --- |
| Adiponectin | 7 | GKN1 | 10 | MMP-13 | 13 |
| BIRC5 | 8 | GMFB | 10 | NCALD | 13 |
| CCL4 | 8 | IFNA1 | 11 | SERPINA3 | 13 |
| CHGA | 8 | IFN-gamma | 11 | TGF-beta1 | 14 |
| F12 | 9 | IL 1-beta | 11 | TGF-beta1 | 14 |
| FGF12 | 9 | IL2 | 12 | TLE3 | 14 |
| FN1 | 9 | MCP-1 | 12 | TNF-alpha | 15 |
| GM-CSF | 10 | MMP-2 | 12 |  |  |

Interleukin

| ELISA Kit | Page | ELISA Kit | Page | ELISA Kit | Page |
| --- | --- | --- | --- | --- | --- |
| IL2 | 15 | IL8 | 19 | IL13 | 20 |
| IL4 | 18 | IL10 | 19 | IL17A | 20 |
| IL5 | 18 | IL12 p40 | 19 | IL28A | 21 |
| IL6 | 18 | IL12 p70 | 20 | PRE-IL18 | 21 |

Membrane Protein

| ELISA Kit | Page | ELISA Kit | Page | ELISA Kit | Page |
| --- | --- | --- | --- | --- | --- |
| ABCD1 | 21 | CD71 | 23 | MHC Class I | 24 |
| ADAM12 | 22 | CNPY2 | 23 | NINJ2 | 24 |
| APOL1 | 22 | CYCS | 23 | TNF-alpha | 25 |
| CD13 | 22 | HSPD1 | 24 |  |  |

Other

| ELISA Kit | Page | ELISA Kit | Page | ELISA Kit | Page |
| --- | --- | --- | --- | --- | --- |
| Albumin | 25 | HSP70 | 27 | Mamma- | 28 |
| APOD | 25 | HSP90 | 27 | globinA | 28 |
| CYB5R3 | 26 | IDH1 | 27 | P21 |  |
| FKBPL | 26 | JNK | 28 | SMN2 | 29 |
| HDAC1 | 26 |  |  | TDP-43 | 29 |

4  ELISA Kit Catalog

WHAT GOES INTOMANUFACTURING

APROTEINTECHELISAKIT?

Antibody  Selection

The antibody selection procedure identifies the best detection and capture antibodies for  pairing together in a sandwich ELISA immunoassay. The ideal capture antibody must possess

high sensitivity and affinity toward th e target antigen to perform its function in an ELISA experiment. For this reason, polyclonal antibodies, raised against large segments or all of the

target protein, are first explored in the selection process*. A high antibody titer in an indirect  ELISA experiment identifies the most suitable candidate.

Suitable detection antibodies must be tested for their specificity and, most importantly, compatibility with a capture antibody. Because of their high specificity, consistency, and reproducibility, monoclonal antibodies are utilized for the detection stage of a sandwich

ELISA experiment. On average, 10 monoclonal subclones are assessed in the antibody  selection process. Antibodies from each subclone are evaluated for compatibility with the capture antibody. The best detection antibody gives a strong and reliable signal that

is consistent across multiple rounds of testing and dilutions of the protein target. Its signal should not be affected by antigen binding to the capture antibody, i.e., their binding sites should not compete or overlap.

The majority of ou r antibodies are raised against whole-protein immunogens, which  means expressing a large section of the target protein, or even all of it where possible,

and introducing this to the host immune system as the antigen. Our standard 102-day-long

immunisation protocol paired with whole-protein antigens allows several things to happen

in the host immune system that contribute to superior antibodies:

•  Selection of sites with	•  Mounting of a secondary immune

greater immunogenicity by majorresponse that produces antibodies

histocompatibility complex (MHC)	with greater recognition capabilities.

class II molecules.

- Affinity maturation in peripheral

lymphatic tissues.

Calibration

Rigorous  Testing

Our protein standards are calibrated using World Health Organization (WHO) Expert Committee  on Biological Standardization (ECBS)-approved standards, sourced from The National Institute for Biological Standards and Control (NIBSC).

The Proteintech lab also measures the coefficient of variation of its kits against the equivalent NIBSC standard to test the inter-assay variability from one use to the next (typically, several

experiment s wil l be carried out over a few days to assess inter-assay variability). Intra-assay variation is also tested, i.e., variability between duplicates, and is done for every separate batch of each individual ELISA kit made.

All Proteintech ELISA kits are assessed for their recovery, linearity, range, sensitivity,

and stability indices.

“ On average, 10 monoclonal subclones are assessed

in the antibody selection process. Antibodies from

each subclone are evaluated for compatibility with  the capture antibody.”

| ptglab.com | 5 |
| --- | --- |

Recovery

Linearity

and Range

Sensitivity

Stability

“ The dynamic range, i.e., the upper and lower detection

limits, of each kit is assessed using a series of dilutions over several replicates.”

The recovery index is a measure of how an assay is affected by the sample medium being used, e.g., serum or plasma. A known amount of a protein standard, usually a fusion protein of the target, is combined with the experimental medium and subjected to the sandwich ELISA procedure. This procedure is known as “spike recovery.”

The lab performs spike recovery experiments with three concentrations considered: “Low,” “medium,” and “high” (e.g., low = 50 pg, medium = 500 pg, and high = 2000 pg). Each is done several times with different sample types: serum, urine, plasma, cell culture supernatant. The output of each spike is then measured against a standard prepared in sample diluent. The ratio of sample output to diluent control output is expressed as a percentage, referred to as the recovery index. A recovery index of 80-120% is considered desirable.

The linearity index of an ELISA kit indicates the precision of assay results for samples tested at different levels of dilution in the chosen sample diluent. Where a sample medium already contains the endogenous target, the Proteintech lab tests linearity directly (by performing series dilutions of the medium). If a medium carrying endogenous sample cannot be obtained, a similar procedure to spike recovery is performed (i.e., a known amount of protein is added to a sample before dilution is performed). Typically, linearity is measured over serial 2-fold dilutions.

The dynamic range, i.e., the upper and lower detection limits, of each kit is assessed using a series of dilutions over several replicates. Providing this data helps kit users to optimize their dilution range when designing or revising their assays.

Sensitivity assays are carried out on each prototype ELISA kit to assess baseline signal, i.e., the threshold of minimum detection. If your sample data is higher than the sensitivity readout, the sample may be considered positive; if lower than the sensitivity readout, the sample is negative and the data should be discarded.

Sensitivity is determined by performing the ELISA procedure with multiple negative samples. The OD readouts or each negative sample are averaged out and the standard deviation calculated. Sensitivity is then calculated using the formula:

Average + (STDEV x 2) = XOD

XOD is then read from the standard curve of the linearity experiment.

Proteintech tests all its ELISA kits following reagent incubation at 37°C after both three and five days. It also tests them after 45 days’ storage at 4°C. Only those kits with no loss of performance are approved for sale.

*It may not always be the case that a polyclonal antibody is the best for protein capture, and this is also taken into consideration during kit design.

6	ELISA Kit Catalog

| CD31 | Recovery: |  |  |
| --- | --- | --- | --- |
| Catalog Number | Sample Type | Average | Range |
| KE00041 | Plasma | 96% | 87%–102% |
| Category: |  |  |  |
| CD Molecular |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma |  |  |  |
|  | Standard Curve |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 0.09 ng/mL |  |  |  |
| Range: |  |  |  |
| 0.25–16 ng/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |
| 5175 |  |  |  |
| CD3E | Recovery: |  |  |
| Catalog Number | Sample Type | Average | Range |
| KE00026 | Plasma | 94% | 82%–107% |
| Category: |  |  |  |
| CD Molecular |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma |  |  |  |
|  | Standard Curve |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 5 pg/mL |  |  |  |
| Range: |  |  |  |
| 31.25–2000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |
| 916 |  |  |  |
| CEACAM5 | Recovery: |  |  |
| Catalog Number | Sample Type | Average | Range |
| KE00042 | Plasma | 94% | 78%–119% |
| Category: |  |  |  |
| CD Molecular |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma |  |  |  |
|  | Standard Curve |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 64 pg/mL |  |  |  |
| Range: |  |  |  |
| 125–8000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |

1048

| ptglab.com | 7 |
| --- | --- |

PD1

Catalog Number

KE00075

Recovery:

Sample Type	Average	Range

Plasma	96%	80%–116%

| Category: |  | Cell culture supernatant | 95% | 79%–120% |
| --- | --- | --- | --- | --- |
| CD Molecular |  | Cell lysate | 101% | 83%–125% |
| Samples tested: |  |  |  |  |
| Serum, plasma, cell culture |  |  |  |  |
|  | Standard Curve |  |  |  |
| supernatant, cell lysate |  |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 43 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 125–8000 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 5133 |  |  |  |  |

PD-L1

Catalog Number

KE00074

Recovery:

Sample Type	Average	Range

Plasma	94%	74%–125%

| Category: |  | Cell culture supernatant | 105% | 87%–127% |
| --- | --- | --- | --- | --- |
| CD Molecular |  | Cell lysate | 100% | 74%–126% |
| Samples tested: |  |  |  |  |
| Serum, plasma, cell culture |  |  |  |  |
|  | Standard Curve |  |  |  |
| supernatant, cell lysate |  |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 0.04 ng/mL |  |  |  |  |
| Range: |  |  |  |  |
| 0.156–10 ng/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 29126 |  |  |  |  |

| Adiponectin | Recovery: |  |  |  |
| --- | --- | --- | --- | --- |
| Catalog Number |  | Sample Type | Average | Range |
| KE00080 |  | Cell culture supernatant | 100% | 81%–115% |
| Category: |  |  |  |  |
| Cytokines |  |  |  |  |
| Samples tested: |  |  |  |  |
| Serum, plasma, |  |  |  |  |
|  | Standard Curve |  |  |  |
| cell culture supernatant |  |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 24 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 62.5–4000 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |

9370

8	ELISA Kit Catalog

BIRC5

Catalog Number

KE00043

Recovery:

Sample Type	Average	Range

Plasma	97%	82%–125%

| Category: | Cell culture supernatant | 109% | 91%–125% |
| --- | --- | --- | --- |
| Cytokines | Urine | 100% | 80%–119% |
| Samples tested: |  |  |  |
| Serum, plasma, cell culture |  |  |  |
|  | Standard Curve |  |  |
| supernatant, urine |  |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 35 pg/mL |  |  |  |
| Range: |  |  |  |
| 62.5–4000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |
| 332 |  |  |  |
| CCL4 | Recovery: |  |  |
| Catalog Number | Sample Type | Average | Range |
| KE00062 | Plasma | 111% | 100%–119% |
| Category: | Cell culture supernatant | 101% | 92%–113% |
| Cytokines |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma, |  |  |  |
|  | Standard Curve |  |  |
| cell culture supernatant |  |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 1 pg/mL |  |  |  |
| Range: |  |  |  |
| 7.8–500 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |
| 6351 |  |  |  |
| CHGA | Recovery: |  |  |
| Catalog Number | Sample Type | Average | Range |
| KE00057 | Plasma | 96% | 83%–114% |
| Category: |  |  |  |
| Cytokines |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma |  |  |  |
|  | Standard Curve |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 30 pg/mL |  |  |  |
| Range: |  |  |  |
| 125–8000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |

1113

| ptglab.com | 9 |
| --- | --- |

| F12 | Recovery: |  |  |  |
| --- | --- | --- | --- | --- |
| Catalog Number |  | Sample Type | Average | Range |
| KE00034 |  | Plasma | 94% | 73%–124% |
| Category: |  |  |  |  |
| Cytokines |  |  |  |  |
| Samples tested: |  |  |  |  |
| Serum, plasma |  |  |  |  |
|  | Standard Curve |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 0.49 ng/mL |  |  |  |  |
| Range: |  |  |  |  |
| 0.5–32 ng/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 2161 |  |  |  |  |
| FGF12 | Recovery: |  |  |  |
| Catalog Number |  | Sample Type | Average | Range |
| KE00036 |  | Plasma | 91% | 72%–125% |
| Category: |  | Cell culture supernatant | 102% | 82%–120% |
| Cytokines |  |  |  |  |
| Samples tested: |  |  |  |  |
| Serum, plasma, |  |  |  |  |
|  | Standard Curve |  |  |  |
| cell culture supernatant |  |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 0.015 ng/mL |  |  |  |  |
| Range: |  |  |  |  |
| 0.5–32 ng/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 2257 |  |  |  |  |
| FN1 | Recovery: |  |  |  |
| Catalog Number |  | Sample Type | Average | Range |
| KE00039 |  | Plasma | 101% | 73%–122% |
| Category: |  |  |  |  |
| Cytokines |  |  |  |  |
| Samples tested: |  |  |  |  |
| Serum, plasma |  |  |  |  |
|  | Standard Curve |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 0.04 ng/mL |  |  |  |  |
| Range: |  |  |  |  |
| 125–8000 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |

2335

10	ELISA Kit Catalog

| GM-CSF | Recovery: |  |  |
| --- | --- | --- | --- |
| Catalog Number | Sample Type | Average | Range |
| KE00003 | Plasma | 93% | 80%–109% |
| Category: | Cell culture supernatant | 89% | 77%–107% |
| Cytokines |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma, |  |  |  |
|  | Standard Curve |  |  |
| cell culture supernatant |  |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 1 pg/mL |  |  |  |
| Range: |  |  |  |
| 7.8–250 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |
| 1437 |  |  |  |
| GKN1 | Recovery: |  |  |
| Catalog Number | Sample Type | Average | Range |
| KE00029 | Plasma | 95% | 85%–121% |
| Category: |  |  |  |
| Cytokines |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma |  |  |  |
|  | Standard Curve |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 5 pg/mL |  |  |  |
| Range: |  |  |  |
| 31.25–2000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |
| 56287 |  |  |  |
| GMFB | Recovery: |  |  |
| Catalog Number | Sample Type | Average | Range |
| KE00001 | Plasma | 87% | 75%–102% |
| Category: | Cell culture supernatant | 91% | 83%–99% |
| Cytokines |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma, |  |  |  |
|  | Standard Curve |  |  |
| cell culture supernatant |  |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 24 pg/mL |  |  |  |
| Range: |  |  |  |
| 125–8000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |

2764

| ptglab.com | 11 |
| --- | --- |

| IFNA1 | Recovery: |  |  |  |
| --- | --- | --- | --- | --- |
| Catalog Number |  | Sample Type | Average | Range |
| KE00044 |  | Plasma | 102% | 78%–121% |
| Category: |  |  |  |  |
| Cytokines |  |  |  |  |
| Samples tested: |  |  |  |  |
| Serum, plasma |  |  |  |  |
|  | Standard Curve |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 1.5 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 15.6–1000 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 3439 |  |  |  |  |
| IFN-gamma | Recovery: |  |  |  |
| Catalog Number |  | Sample Type | Average | Range |
| KE00063 |  | Plasma | 95% | 86%–102% |
| Category: |  | Cell culture supernatant | 111% | 84%–121% |
| Cytokines |  |  |  |  |
| Samples tested: |  |  |  |  |
| Serum, plasma, |  |  |  |  |
|  | Standard Curve |  |  |  |
| cell culture supernatant |  |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 1 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 15.6–1000 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 3458 |  |  |  |  |

IL 1-beta

Catalog Number

KE10003

Recovery:

Sample Type	Average	Range

Plasma	102%	91%–123%

| Category: |  | Cell culture supernatant | 113% | 89%–126% |
| --- | --- | --- | --- | --- |
| Cytokines |  | Cell lysate | 104% | 82%–128% |
| Samples tested: |  |  |  |  |
| Serum, plasma, cell culture |  |  |  |  |
|  | Standard Curve |  |  |  |
| supernatant, cell lysate |  |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 1 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 7.8–500 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Mouse |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 16176 |  |  |  |  |

12	ELISA Kit Catalog

| IL2 | Recovery: |  |  |
| --- | --- | --- | --- |
| Catalog Number | Sample Type | Average | Range |
| KE10004 | Serum | 111% | 99%–120% |
| Category: | Cell culture supernatant | 106% | 94%–113% |
| Cytokines |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma, |  |  |  |
|  | Standard Curve |  |  |
| cell culture supernatant |  |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 0.5 pg/mL |  |  |  |
| Range: |  |  |  |
| 15.6–1000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Mouse |  |  |  |
| Entrez GeneID: |  |  |  |
| 16183 |  |  |  |
| MCP-1 | Recovery: |  |  |
| Catalog Number | Sample Type | Average | Range |
| KE10006 | Plasma | 91% | 76%–127% |
| Category: | Cell culture supernatant | 102% | 85%–119% |
| Cytokines |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma, |  |  |  |
|  | Standard Curve |  |  |
| cell culture supernatant |  |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 1.34 pg/mL |  |  |  |
| Range: |  |  |  |
| 3.13–200 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Mouse |  |  |  |
| Entrez GeneID: |  |  |  |
| 20296 |  |  |  |
| MMP-2 | Recovery: |  |  |
| Catalog Number | Sample Type | Average | Range |
| KE00077 | Plasma | 116% | 104%–129% |
| Category: | Cell culture supernatant | 101% | 87%–115% |
| Cytokines |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma, |  |  |  |
|  | Standard Curve |  |  |
| cell culture supernatant |  |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 0.05 ng/mL |  |  |  |
| Range: |  |  |  |
| 0.313–10 ng/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |

4313

| ptglab.com | 13 |
| --- | --- |

| MMP-13 | Recovery: |  |  |  |
| --- | --- | --- | --- | --- |
| Catalog Number |  | Sample Type | Average | Range |
| KE00078 |  | Plasma | 90% | 85%–100% |
| Category: |  | Cell culture supernatant | 86% | 79%–92% |
| Cytokines |  |  |  |  |
| Samples tested: |  |  |  |  |
| Serum, plasma, |  |  |  |  |
|  | Standard Curve |  |  |  |
| cell culture supernatant |  |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 1.2 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 93.8–6000 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 4322 |  |  |  |  |
| NCALD | Recovery: |  |  |  |
| Catalog Number |  | Sample Type | Average | Range |
| KE00028 |  | Plasma | 105% | 96%–125% |
| Category: |  |  |  |  |
| Cytokines |  |  |  |  |
| Samples tested: |  |  |  |  |
| Serum, plasma |  |  |  |  |
|  | Standard Curve |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 3 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 31.25–2000 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 83988 |  |  |  |  |
| SERPINA3 |  | Recovery: |  |  |
| Catalog Number |  | Sample Type | Average | Range |
| KE00037 |  | Plasma | 99% | 82%–113% |
| Category: |  |  |  |  |
| Cytokines |  |  |  |  |
| Samples tested: |  |  |  |  |
| Serum, plasma |  |  |  |  |
|  | Standard Curve |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 0.8 ng/mL |  |  |  |  |
| Range: |  |  |  |  |
| 1–64 ng/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |

12

14	ELISA Kit Catalog

TGF-beta1

Catalog Number

KE00002

Recovery:

Sample Type	Average	Range

Plasma	100%	81%–111%

| Category: | Cell culture supernatant | 105% | 93%–115% |
| --- | --- | --- | --- |
| Cytokines | Urine | 93% | 86%–101% |
| Samples tested: |  |  |  |
| Serum, plasma, |  |  |  |
|  | Standard Curve |  |  |
| cell culture supernatant |  |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 3.3 pg/mL |  |  |  |
| Range: |  |  |  |
| 15.6–1000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |
| 7040 |  |  |  |

| TGF-beta1 | Recovery: |  |  |
| --- | --- | --- | --- |
| Catalog Number | Sample Type | Average | Range |
| KE10005 | Plasma | 85% | 74%–101% |
| Category: | Cell culture supernatant | 91% | 80%–102% |
| Cytokines |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma, |  |  |  |
|  | Standard Curve |  |  |
| cell culture supernatant |  |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 16 pg/mL |  |  |  |
| Range: |  |  |  |
| 31.25–2000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Mouse |  |  |  |
| Entrez GeneID: |  |  |  |
| 21803 |  |  |  |
| TLE3 | Recovery: |  |  |
| Catalog Number | Sample Type | Average | Range |
| KE00048 | Plasma | 97% | 82%–126% |
| Category: | Cell culture supernatant | 106% | 83%–127% |
| Cytokines | Urine | 90% | 78%–131% |
| Samples tested: |  |  |  |
| Serum, plasma, cell culture |  |  |  |
|  | Standard Curve |  |  |
| supernatant, urine |  |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 11 pg/mL |  |  |  |
| Range: |  |  |  |
| 62.5–4000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |

7090

| ptglab.com | 15 |
| --- | --- |

| TNF-alpha | Recovery: |  |  |  |
| --- | --- | --- | --- | --- |
| Catalog Number |  | Sample Type | Average | Range |
| KE10002 |  | Cell culture supernatant | 94% | 85%–104% |
| Category: |  |  |  |  |
| Cytokines |  |  |  |  |
| Samples tested: |  |  |  |  |
| Serum, plasma, |  |  |  |  |
|  | Standard Curve |  |  |  |
| cell culture supernatant |  |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 1 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 7.8–500 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Mouse |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 21926 |  |  |  |  |
| IL2 | Recovery: |  |  |  |
| Catalog Number |  | Sample Type | Average | Range |
| KE00017 |  | Plasma | 92% | 81%–107% |
| Category: |  | Cell culture supernatant | 112% | 103%–121% |
| Interleukin |  |  |  |  |
| Samples tested: |  |  |  |  |
| Serum, plasma, |  |  |  |  |
|  | Standard Curve |  |  |  |
| cell culture supernatant |  |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 3.6 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 15.6–1000 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 3558 |  |  |  |  |

OVER 70 KITS ARE AVAILABLE

TO BUY ONLINE FOR €475* EACH.

All kits are in stock now for next day shipping.

Visit ptglab.com for more information.

The Benchmark

In Antibodies

*Priced at £399 each in the United Kingdom.	www.ptglab.com

16	ELISA Kit Catalog

| ptglab.com | 17 |
| --- | --- |

18	ELISA Kit Catalog

| IL4 | Recovery: |  |  |
| --- | --- | --- | --- |
| Catalog Number | Sample Type | Average | Range |
| KE00016 | Plasma | 103% | 86%–116% |
| Category: | Cell culture supernatant | 95% | 83%–105% |
| Interleukin |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma, |  |  |  |
|  | Standard Curve |  |  |
| cell culture supernatant |  |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 2.5 pg/mL |  |  |  |
| Range: |  |  |  |
| 31.25–2000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |
| 3565 |  |  |  |
| IL5 | Recovery: |  |  |
| Catalog Number | Sample Type | Average | Range |
| KE00010 | Plasma | 97% | 87%–116% |
| Category: | Cell culture supernatant | 102% | 91%–116% |
| Interleukin | Urine | 98% | 82%–123% |
| Samples tested: |  |  |  |
| Serum, plasma, cell culture |  |  |  |
|  | Standard Curve |  |  |
| supernatant, urine |  |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 30 pg/mL |  |  |  |
| Range: |  |  |  |
| 31.25–2000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |
| 3567 |  |  |  |
| IL6 | Recovery: |  |  |
| Catalog Number | Sample Type | Average | Range |
| KE00007 | Plasma | 92% | 78%–122% |
| Category: | Cell culture supernatant | 102% | 99%–114% |
| Interleukin | Urine | 99% | 80%–116% |
| Samples tested: |  |  |  |
| Serum, plasma, cell culture |  |  |  |
|  | Standard Curve |  |  |
| supernatant, urine |  |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 1.4 pg/mL |  |  |  |
| Range: |  |  |  |
| 15.6–1000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |

3569

| ptglab.com | 19 |
| --- | --- |

| IL8 | Recovery: |  |  |  |
| --- | --- | --- | --- | --- |
| Catalog Number |  | Sample Type | Average | Range |
| KE00006 |  | Plasma | 100% | 80%–127% |
| Category: |  | Cell culture supernatant | 101% | 87%–114% |
| Interleukin |  |  |  |  |
| Samples tested: |  |  |  |  |
| Serum, plasma, |  |  |  |  |
|  | Standard Curve |  |  |  |
| cell culture supernatant |  |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 12.1 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 15.6–1000 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 3576 |  |  |  |  |
| IL10 | Recovery: |  |  |  |
| Catalog Number |  | Sample Type | Average | Range |
| KE00012 |  | Plasma | 100% | 86%–127% |
| Category: |  | Cell culture supernatant | 101% | 88%–114% |
| Interleukin |  |  |  |  |
| Samples tested: |  |  |  |  |
| Serum, plasma, |  |  |  |  |
|  | Standard Curve |  |  |  |
| cell culture supernatant, |  |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 5.3 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 62.5–4000 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 3586 |  |  |  |  |
| IL12 p40 | Recovery: |  |  |  |
| Catalog Number |  | Sample Type | Average | Range |
| KE00018 |  | Cell culture supernatant | 95% | 80%–103% |
| Category: |  |  |  |  |
| Interleukin |  |  |  |  |
| Samples tested: |  |  |  |  |
| Cell culture supernatant |  |  |  |  |
|  | Standard Curve |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 3.4 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 31.25–2000 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |

3593

20	ELISA Kit Catalog

IL12 p70

Catalog Number

KE00019

Recovery:

Sample Type	Average	Range

Plasma	105%	91%–124%

| Category: | Cell culture supernatant | 102% | 96%–112% |
| --- | --- | --- | --- |
| Interleukin | Urine | 81% | 70%–89% |
| Samples tested: |  |  |  |
| Serum, plasma, cell culture |  |  |  |
|  | Standard Curve |  |  |
| supernatant, urine |  |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 8.5 pg/mL |  |  |  |
| Range: |  |  |  |
| 31.25–2000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |
| 3592/3593 |  |  |  |
| IL13 | Recovery: |  |  |
| Catalog Number | Sample Type | Average | Range |
| KE00020 | Plasma | 88% | 81%–95% |
| Category: | Cell culture supernatant | 84% | 73%–96% |
| Interleukin |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma, |  |  |  |
|  | Standard Curve |  |  |
| cell culture supernatant |  |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 1 pg/mL |  |  |  |
| Range: |  |  |  |
| 62.5–4000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |
| 3596 |  |  |  |
| IL17A | Recovery: |  |  |
| Catalog Number | Sample Type | Average | Range |
| KE00015 | Plasma | 96% | 78%–120% |
| Category: | Cell culture supernatant | 92% | 83%–108% |
| Interleukin |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma |  |  |  |
|  | Standard Curve |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 48 pg/mL |  |  |  |
| Range: |  |  |  |
| 62.5–4000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |

3605

| ptglab.com | 21 |
| --- | --- |

IL28A

Catalog Number

KE00011

Recovery:

Sample Type	Average	Range

Plasma	95%	87%–102%

| Category: |  | Cell culture supernatant | 101% | 88%–109% |
| --- | --- | --- | --- | --- |
| Interleukin |  | Urine | 100% | 89%–109% |
| Samples tested: |  |  |  |  |
| Serum, plasma, cell culture |  |  |  |  |
|  | Standard Curve |  |  |  |
| supernatant, urine |  |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 1 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 7.8–500 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 282616 |  |  |  |  |
| PRE-IL18 | Recovery: |  |  |  |
| Catalog Number |  | Sample Type | Average | Range |
| KE00025 |  | Plasma | 87% | 77%–100% |
| Category: |  |  |  |  |
| Interleukin |  |  |  |  |
| Samples tested: |  |  |  |  |
| Serum, plasma |  |  |  |  |
|  | Standard Curve |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 1.5 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 15.6–1000 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 3606 |  |  |  |  |
| ABCD1 | Recovery: |  |  |  |
| Catalog Number |  | Sample Type | Average | Range |
| KE00030 |  | Plasma | 95% | 85%–118% |
| Category: |  |  |  |  |
| Membrane Protein |  |  |  |  |
| Samples tested: |  |  |  |  |
| Serum, plasma |  |  |  |  |
|  | Standard Curve |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 6 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 31.25–2000 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |

215

22	ELISA Kit Catalog

ADAM12

Catalog Number

KE00058

Recovery:

Sample Type	Average	Range

Plasma	94%	76%–128%

| Category: | Cell culture supernatant | 98% | 81%–116% |
| --- | --- | --- | --- |
| Membrane Protein | Urine | 102% | 75%–123% |
| Samples tested: |  |  |  |
| Serum, plasma, cell culture |  |  |  |
|  | Standard Curve |  |  |
| supernatant, urine |  |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 0.63 ng/mL |  |  |  |
| Range: |  |  |  |
| 0.78–50 ng/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |
| 8038 |  |  |  |
| APOL1 | Recovery: |  |  |
| Catalog Number | Sample Type | Average | Range |
| KE00047 | Plasma | 94% | 87%–107% |
| Category: |  |  |  |
| Membrane Protein |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma |  |  |  |
|  | Standard Curve |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 0.07 ng/mL |  |  |  |
| Range: |  |  |  |
| 0.156–10 ng/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |
| 8542 |  |  |  |
| CD13 | Recovery: |  |  |
| Catalog Number | Sample Type | Average | Range |
| KE00083 | Plasma | 91% | 79%–105% |
| Category: | Cell culture supernatant | 106% | 83%–127% |
| Membrane Protein |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma, |  |  |  |
|  | Standard Curve |  |  |
| cell culture supernatant |  |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 0.06 ng/mL |  |  |  |
| Range: |  |  |  |
| 0.313–20 ng/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |

290

| ptglab.com | 23 |
| --- | --- |

| CD71 | Recovery: |  |  |  |
| --- | --- | --- | --- | --- |
| Catalog Number |  | Sample Type | Average | Range |
| KE00081 |  | Plasma | 92% | 83%–101% |
| Category: |  |  |  |  |
| Membrane Protein |  |  |  |  |
| Samples tested: |  |  |  |  |
| Serum, plasma |  |  |  |  |
|  | Standard Curve |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 0.2 ng/mL |  |  |  |  |
| Range: |  |  |  |  |
| 1.56–100 ng/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 7037 |  |  |  |  |
| CNPY2 | Recovery: |  |  |  |
| Catalog Number |  | Sample Type | Average | Range |
| KE00073 |  | Plasma | 96% | 85%–114% |
| Category: |  | Cell culture supernatant | 88% | 80%–95% |
| Membrane Protein |  |  |  |  |
| Samples tested: |  |  |  |  |
| Serum, plasma, cell lysate |  |  |  |  |
|  | Standard Curve |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 1.5 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 0.156–10 ng/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 10330 |  |  |  |  |
| CYCS | Recovery: |  |  |  |
| Catalog Number |  | Sample Type | Average | Range |
| KE00079 |  | Cell lysate | 96% | 74%–126% |
| Category: |  |  |  |  |
| Membrane Protein |  |  |  |  |
| Samples tested: |  |  |  |  |
| Cell lysate |  |  |  |  |
|  | Standard Curve |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 7 ng/mL |  |  |  |  |
| Range: |  |  |  |  |
| 78.1–5000 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 54205 |  |  |  |  |

24	ELISA Kit Catalog

| HSPD1 | Recovery: |  |  |
| --- | --- | --- | --- |
| Catalog Number | Sample Type | Average | Range |
| KE00032 | Plasma | 99% | 86%–119% |
| Category: |  |  |  |
| Membrane Protein |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma |  |  |  |
|  | Standard Curve |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 7 pg/mL |  |  |  |
| Range: |  |  |  |
| 31.25–2000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |
| 3329 |  |  |  |
| MHC Class I | Recovery: |  |  |
| Catalog Number | Sample Type | Average | Range |
| KE00035 | Plasma | 103% | 85%–122% |
| Category: |  |  |  |
| Membrane Protein |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma |  |  |  |
|  | Standard Curve |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 19.6 pg/mL |  |  |  |
| Range: |  |  |  |
| 125–4000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |
| 3105 |  |  |  |
| NINJ2 | Recovery: |  |  |
| Catalog Number | Sample Type | Average | Range |
| KE00038 | Plasma | 86% | 72%–102% |
| Category: |  |  |  |
| Membrane Protein |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma |  |  |  |
|  | Standard Curve |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 0.1 ng/mL |  |  |  |
| Range: |  |  |  |
| 0.313–20 ng/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |

4815

| ptglab.com | 25 |
| --- | --- |

| TNF-alpha | Recovery: |  |  |  |
| --- | --- | --- | --- | --- |
| Catalog Number |  | Sample Type | Average | Range |
| KE00068 |  | Plasma | 77% | 70%–86% |
| Category: |  | Cell culture supernatant | 100% | 81%–126% |
| Membrane Protein |  |  |  |  |
| Samples tested: |  |  |  |  |
| Cell culture supernatant |  |  |  |  |
|  | Standard Curve |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 1 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 31.25–2000 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 7124 |  |  |  |  |
| Albumin | Recovery: |  |  |  |
| Catalog Number |  | Sample Type | Average | Range |
| KE00076 |  | Plasma | 85% | 76%–96% |
| Category: |  | Urine | 100% | 93%–109% |
| Other |  |  |  |  |
| Samples tested: |  |  |  |  |
| Serum, plasma, urine |  |  |  |  |
|  | Standard Curve |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 0.17 ng/mL |  |  |  |  |
| Range: |  |  |  |  |
| 12.5–800 ng/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 213 |  |  |  |  |
| APOD | Recovery: |  |  |  |
| Catalog Number |  | Sample Type | Average | Range |
| KE00067 |  | Plasma | 92% | 76%–102% |
| Category: |  |  |  |  |
| Other |  |  |  |  |
| Samples tested: |  |  |  |  |
| Serum, plasma |  |  |  |  |
|  | Standard Curve |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 0.01 ng/mL |  |  |  |  |
| Range: |  |  |  |  |
| 0.313–20 ng/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |

347

26	ELISA Kit Catalog

| CYB5R3 | Recovery: |  |  |
| --- | --- | --- | --- |
| Catalog Number | Sample Type | Average | Range |
| KE00069 | Plasma | 107% | 98%–119% |
| Category: | Cell lysate | 109% | 94%–118% |
| Other |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma, cell lysate |  |  |  |
|  | Standard Curve |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 3.5 pg/mL |  |  |  |
| Range: |  |  |  |
| 31.25–2000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |
| 1727 |  |  |  |
| FKBPL | Recovery: |  |  |
| Catalog Number | Sample Type | Average | Range |
| KE00023 | Plasma | 99% | 87%–115% |
| Category: |  |  |  |
| Other |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma |  |  |  |
|  | Standard Curve |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 7 pg/mL |  |  |  |
| Range: |  |  |  |
| 31.25–2000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |
| 63943 |  |  |  |
| HDAC1 | Recovery: |  |  |
| Catalog Number | Sample Type | Average | Range |
| KE00033 | Plasma | 100% | 86%–127% |
| Category: |  |  |  |
| Other |  |  |  |
| Samples tested: |  |  |  |
| Serum, plasma |  |  |  |
|  | Standard Curve |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 11 pg/mL |  |  |  |
| Range: |  |  |  |
| 62.5–4000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |

3065

| ptglab.com | 27 |
| --- | --- |

HSP70

Catalog Number

KE00059

Recovery:

Sample Type	Average	Range

Plasma	104%	92%–124%

| Category: |  | Cell culture supernatant | 97% | 80%–123% |
| --- | --- | --- | --- | --- |
| Other |  | Urine | 86% | 76%–98% |
| Samples tested: |  |  |  |  |
| Serum, plasma, cell culture |  |  |  |  |
|  | Standard Curve |  |  |  |
| supernatant, urine |  |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 1 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 31.25–2000 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 3303 |  |  |  |  |

HSP90

Catalog Number

KE00054

Recovery:

Sample Type	Average	Range

Plasma	100%	82%–119%

| Category: |  | Cell culture supernatant | 108% | 92%–126% |
| --- | --- | --- | --- | --- |
| Other |  | Cell lysate | 106% | 81%–124% |
| Samples tested: |  |  |  |  |
| Serum, plasma, cell culture |  |  |  |  |
|  | Standard Curve |  |  |  |
| supernatant, urine |  |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 90 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 125–8000 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 3320 |  |  |  |  |
| IDH1 |  | Recovery: |  |  |
| Catalog Number |  | Sample Type | Average | Range |
| KE00060 |  | Plasma | 98% | 77%–125% |
| Category: |  | Cell lysate | 96% | 76%–128% |
| Other |  |  |  |  |
| Samples tested: |  |  |  |  |
| Serum, plasma, cell lysate |  |  |  |  |
|  | Standard Curve |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 3.3 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 62.5–4000 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |

3417

28	ELISA Kit Catalog

| JNK | Recovery: |  |  |
| --- | --- | --- | --- |
| Catalog Number | Sample Type | Average | Range |
| KE00072 | Cell lysate | 100% | 85%–110% |
| Category: |  |  |  |
| Other |  |  |  |
| Samples tested: |  |  |  |
| Cell lysate |  |  |  |
|  | Standard Curve |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 0.1 ng/mL |  |  |  |
| Range: |  |  |  |
| 1.56–100 ng/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |
| 5599 |  |  |  |
| MammaglobinA | Recovery: |  |  |
| Catalog Number | Sample Type | Average | Range |
| KE00071 | Plasma | 103% | 92%–111% |
| Category: | Cell culture supernatant | 104% | 86%–125% |
| Other | Urine | 94% | 85%–113% |
| Samples tested: |  |  |  |
| Serum, plasma, cell culture |  |  |  |
|  | Standard Curve |  |  |
| supernatant, urine |  |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 5 pg/mL |  |  |  |
| Range: |  |  |  |
| 125–8000 pg/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |
| 4250 |  |  |  |
| P21 | Recovery: |  |  |
| Catalog Number | Sample Type | Average | Range |
| KE00049 | Cell lysate | 87% | 81%–97% |
| Category: |  |  |  |
| Other |  |  |  |
| Samples tested: |  |  |  |
| Cell lysate |  |  |  |
|  | Standard Curve |  |  |
| Tests: |  |  |  |
| 1 X 96 well plate |  |  |  |
| Sensitivity: |  |  |  |
| 0.1 ng/mL |  |  |  |
| Range: |  |  |  |
| 0.25–16 ng/mL |  |  |  |
| Reactivity: |  |  |  |
| Human |  |  |  |
| Entrez GeneID: |  |  |  |

1026

| ptglab.com | 29 |
| --- | --- |

| SMN2 | Recovery: |  |  |  |
| --- | --- | --- | --- | --- |
| Catalog Number |  | Sample Type | Average | Range |
| KE00027 |  | Cell lysate | 133% | 106%–121% |
| Category: |  | Tissue lysate | 90% | 90%–91% |
| Other |  |  |  |  |
| Samples tested: |  |  |  |  |
| Tissue lysate, cell lysate |  |  |  |  |
| Tests: | Standard Curve |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 6 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 62.5–4000 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 6607 |  |  |  |  |
| TDP-43 | Recovery: |  |  |  |
| Catalog Number |  | Sample Type | Average | Range |
| KE00005 |  | Plasma | 93% | 80%–118% |
| Category: |  |  |  |  |
| Other |  |  |  |  |
| Samples tested: |  |  |  |  |
| Serum, plasma |  |  |  |  |
|  | Standard Curve |  |  |  |
| Tests: |  |  |  |  |
| 1 X 96 well plate |  |  |  |  |
| Sensitivity: |  |  |  |  |
| 40 pg/mL |  |  |  |  |
| Range: |  |  |  |  |
| 62.5–2000 pg/mL |  |  |  |  |
| Reactivity: |  |  |  |  |
| Human |  |  |  |  |
| Entrez GeneID: |  |  |  |  |
| 23435 |  |  |  |  |

VISIT PTGLAB.COM FOR THE FULL CATALOG OF PROTEINTECH PRODUCTS

- Premade polyclonal antibodies

- Premade monoclonal antibodies

- Secondary antibodies

- HRP-Conjugated antibodies

- ELISA kits

- Fusion proteins

www.ptglab.com

30

CONTACT US

| Proteintech Group |  | PHONE | 1 (888) 4PTGLAB |  |
| --- | --- | --- | --- | --- |
| US Head Office |  |  | (1-888-478-4522) |  |
|  |  |  | (toll free in USA), |  |
|  |  |  | or 1(312) 455-8498 |  |
|  |  |  | (outside USA) |  |
|  |  | FAX | 1 (312) 455-8408 |  |
|  |  | ADDRESS | Proteintech Group, Inc. |  |
|  |  |  | 5400 Pearl Street, Suite 300, |  |
|  |  |  | Rosemont, IL 60018, USA |  |
|  |  | EMAIL | proteintech@ptglab.com |  |
| Proteintech Europe |  | PHONE | +44 (161) 8393007 |  |
| United Kingdom |  | FAX | +44 (161) 2321272 |  |
|  |  | ADDRESS | Proteintech Europe, Ltd. |  |
|  |  |  | 4th Floor, |  |
|  |  |  | 196 Deansgate, |  |
|  |  |  | Manchester, M3 3WF |  |
|  |  | EMAIL | europe@ptglab.com |  |
| Proteintech Europe |  | EMAIL | germany@ptglab.com |  |
| Germany |  |  | Sales and technical support only. |  |
| Proteintech |  | PHONE | 027-87531629 |  |
| China Office |  |  | or 4006-900-926 |  |
|  |  | FAX | 027-87531627 |  |
|  |  | ADDRESS | Wuhan Sanying Biotechnologies |  |
|  |  |  | D3-3, No.666 Gaoxin Avenue, |  |
|  |  |  | Wuhan East Lake Hi-tech Development Zone |  |
|  |  |  | Wuhan, Hubei, P.R.C |  |
|  |  | EMAIL | service@ptglab.com |  |

ELISA Kit Catalog

Support

Available 24 hours via Live Chat and 9-5 (CDT) via phone.

Email support also available.

LIVE CHAT

www.ptglab.com

TWITTER

@proteintech

BLOG

blog.ptglab.com

YOUTUBE

www.youtube.com/Proteintech

We are ISO 9001 and

ISO 13485 accredited.

| ptglab.com | 31 |
| --- | --- |

32	                       ELISA Kit Catalog